## Calibration
[9 empty] | Template for calculating relationship between Total Suspended Solids (TTS) and Turbidity | DataPoints# |  | Extrapolationpoint low |  | Degree Selection |  |  |  |  | Setup Data Range | X | $S$11:$V$11 |  | Turb Input Range | [9 empty] | Extrapolationpoint high
[9 empty] | DID-060812-02 | 4 | [5 empty] | DropList | DataPoints# |  |  | Y | $S$12:$V$12 |  |  | Extrapolation Range
[8 empty] | 2021-11-03 | [8 empty] | 4 |  |  | Ycalc | $S$42:$V$42 |  | 8 | 1.2
[16 empty] | 1 |  |  |  | Deviation | $S$45:$V$45
Turbidity and Total Suspended Solids (TSS) both indicate water clarity. The relationship between these parameters depends heavily on the optical properties of the suspended particles. For conditions where the optical scatters have a fairly constant characteristics it might be useful to establish the relationship between turbidity and TSS. This relationship can then be used for calculating TSS where only Turbidity are available. Standard methods and procedure for acquiring TSS data is given in the US EPA 160.2, APHA 2540D or the European standard NF EN 872. Collect a set of TSS samples with related turbidity measurements that covers a range as wide as possible (from low to high concentration). Preferably these data should collected in-situ at the site. Alternatively the data can be obtain by collecting high turbid water in a suitable water container where parallel TSS samples and turbidity measurements can be done. The collect water can then be diluted to obtain lower turbidity/TTS readings/samples. Note that the Turbidity Sensor 4296 require a distance of approximately 0.8 meters to the facing wall in order to achieve optimal accuracy at low turbidity. The calculation below requires at least 4 points with TSS and turbidity data. A linear regression will be applied producing coefficients to a polynomial with a degree limited to the number of data points minus 2 and maximum 5. The validity of the relationship is strengthened by entering a higher number of data points. | [15 empty] | 2 |  |  |  | Yextralow | $R$42:$U$42
Yextrahigh
Transpose Input Data
[11 empty] | Turbidity Reading (FTU) | -0.2 | 1 | 3 | 5 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.2
[11 empty] | TSS (mg/l) |  | 0.1 | 0.5 | 0.8 | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | Calculate Fit |  |  |  | Degree
[14 empty] | 1 |  |  |  |  | 0.13429 | 0.045714
| Turbidity Reading (FTU) | TSS (mg/l) | [11 empty] | 2 |  |  |  | -0.0096591 | 0.23364 | -0.12125
[14 empty] | 3 |  |  | 0.00052083 | -0.017188 | 0.26198 | -0.14531
Point 1 | 1 | 0.1 | [11 empty] | 4 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Point 2 | 3 | 0.5 | [11 empty] | 5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Point 3 | 5 | 0.8
Point 4 | 9 | 1.2 | [7 empty] | Calculated TSS | Degree
Point 5 | [10 empty] | 1 | 0.018857 | 0.18 | 0.44857 | 0.71714 | 1.2543 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 1.4154
Point 6 | [10 empty] | 2 | -0.16836 | 0.10273 | 0.49273 | 0.80545 | 1.1991 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | 1.2569
Point 7 | [10 empty] | 3 | -0.1984 | 0.1 | 0.5 | 0.8 | 1.2 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | 1.2914
Point 8 | [10 empty] | 4 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Point 9 | [10 empty] | 5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Point 10
Point 11 | [9 empty] | Calculate Deviation | Degree
Point 12 | [10 empty] | 1 |  | 0.08 | -0.051429 | -0.082857 | 0.054286 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 0.045714 | 0.045714
Point 13 | [10 empty] | 2 |  | 0.0027273 | -0.0072727 | 0.0054545 | -0.00090909 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125
Point 14 | [10 empty] | 3 |  | 0 | 0 | 0 | 0 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | -0.14531 | -0.14531
Point 15 | [10 empty] | 4 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Point 16 | [10 empty] | 5 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Point 17
Point 18
Point 19 | [9 empty] | Selected Fit |  |  |  | Degree
Point 20 | [13 empty] | 1 | 7 | 6 | 5 | 4 | 3 | 2
[14 empty] | 2 | -0.12125 | 0.23364 | -0.0096591 | 0 | 0 | 0
Degree
Polynomial Degree |  | Index | 0 | 1 | 2 | 3 | 4 | 5 |  | Calculated TSS | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
|  | TSSCoef | -0.12125 | 0.23364 | -0.0096591 | 0 | 0 | 0 |  |  | 2 | -0.16836 | 0.10273 | 0.49273 | 0.80545 | 1.1991 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | 1.2569
2 |  | Text Commands | Set Passkey(1000)
|  |  | Set TSSCoef(-1.212500E-01,2.336364E-01,-9.659091E-03,0.000000E+00,0.000000E+00,0.000000E+00) | [6 empty] | Selected Deviation | 1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
|  |  | Save | [7 empty] | 2 |  | 0 | 0.0027273 | -0.0072727 | 0.0054545 | -0.00090909 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125 | -0.12125
Show Extrapolation (%)
|  | Fit Deviation (mg/l) | [7 empty] | Range for Plotting/Stats
|  | Standard dev. | Maximum | Minimum | [6 empty] | X | -0.2 | 2: 1; 3: 3; 4: 5; 5: 9 | 10.2
15 |  | 0.0054735 | 0.0054545 | -0.0072727 | [6 empty] | Y |  | 2: 0.1; 3: 0.5; 4: 0.8; 5: 1.2
[11 empty] | Ycalc | -0.16836 | 2: 0.10273; 3: 0.49273; 4: 0.80545; 5: 1.1991 | 1.2569
[11 empty] | Deviation |  | 2: 0; 3: 0.0027273; 4: -0.0072727; 5: 0.0054545
Note on D43: The calculated coefficients can be transferred to the sensor by connecting it Tera Term and pasting the following commands in the terminal window.